# 42U ENCLOSURE 19" CABINET 600X1000 FLOOR STANDING SERVER RACK - VALUCAB



##### DESCRIPTION

##### FEATURES

• 19"
• Colour : Black (Powder-coated RAL 9005)
• Dimensions: 600x1000x2050mm (inc.castors)
• Up to 800 Kg static load bearing
• Front mesh high venting door (lockable)
• Left/right hinged front/rear doors
• Removable side panels for easy access
• U-numbered uprights for rack-mount product alignment
• Multiple cable entry glands for exact power and cabling entry

• Supplied with: Standard/Shipping Castors (Fitted): Set of 4 adjustable Jacking Feet (Supplied): Standard M6 Cage Nuts and Bolts (Supplied): Hex Adjusting Key (Supplied)

##### DOCUMENTS

[﻿Specification Sheet](https://cdn.shopify.com/s/files/1/0071/2337/0043/files/LMS_data_ValuCab_Data_Centre_Editions_v1.1.pdf?15208738659382451905) (PDF)