# 6U 400MM 19" DATA WALL CABINET - 6U NETWORK CABINET BLACK



##### DESCRIPTION

The new **CAB-W6U-EL400** is a feature rich, **6U** wall mount cabinet that allows all
networking, PBX, A/V and home automation to be installed within its
universal standard 19-inch vertical support rails.

With an extra 400mm deep form-factor, the majority of entry to
medium range networking hardware can be installed with ease, as well of course
passive networking hardware including patch panels, cable management, PDUs
and even rack-mount fan trays.

Fully built straight from the box, the **CAB-W6U-EL400 6U**Network Cabinet features a front reversible lockable door, removable side panels for ease of
equipment access and rear vertical profiles for secure equipment fixing.

Equipped with ventilation slots for increased equipment airflow and of course
easy, single person installation makes the **CAB-W6U-EL400** the ideal choice for all
your SME installations.

##### TECHNICAL SPECIFICATIONS

6U high 550W 400D

ETSI 19” front/rear profiles

Lockable glass door, reversible if required

Wall mountable with removable side panels

Power-coated BLACK and robust grey finish

Easy-to-install wall deployment - pre built

Supplied with a bag of M6 fixings

##### PRODUCT INFO

SKU/MPN: CAB-W6U-EL400

EAN: 8400800025302

Weights: 10.1Kg

Dimensions: 550(width) x400(depth) x320mm (height)

##### FILES

[Datasheet - CAB-W6U-EL400](https://cdn.shopify.com/s/files/1/0071/2337/0043/files/CAB-W6U-EL400_7e70693b-41ea-4f91-a29c-f086fec1b5a4.pdf?50)